## QueryTag
|  | Job Number | Submitter | Contact | # of Samples | Entered by | Date Approved
|  | MRP-14252 | WALTONDAY_K |  | 41
kwaltond@usgs.gov
[5 empty] | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O
Lab No. | Field No. | Sample Description | Rep | Test Comment | Ag | Al | As | Ba | Be | Bi | Ca | Cd | Ce | Co | Cr | Cs | Cu | Dy | Er | Eu | Fe | Ga | Gd | Ge | Hf | Ho | K | La | Li | Lu | Mg | Mn | Mo | Na | Nb | Nd | Ni | P | Pb | Pr | Rb | Sb | Sc | Se | SiO2 | Sm | Sn | SO4 | Sr | Ta | Tb | Th | Ti | Tl | Tm | U | V | W | Y | Yb | Zn | Zr
[5 empty] | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
C-392621 | LF58005291015FA | 391452106224201_WS | 1 |  | <0.5 | 40.3 | <1 | 6.9 | <0.05 | < 0.2 | 4.1 | 0.31 | 0.29 | 0.15 | <1 | < 0.02 | 1.3 | 0.03 | 0.02 | < 0.01 | 120 | < 0.05 | 0.04 | < 0.05 | 0.07 | 0.007 | 0.41 | 0.23 | < 2 | < 0.1 | 0.71 | 118 | < 1 | 1 | 0.29 | 0.27 | 0.4 | < 0.01 | 0.16 | 0.07 | 0.63 | <1 | < 0.6 | < 1 | 4.1 | 0.06 | < 0.5 | 4.8 | 20.8 | 0.1 | < 0.005 | < 0.2 | 0.5 | <0.1 | < 0.005 | 0.58 | <0.5 | < 0.5 | 0.14 | < 0.01 | 60.9 | < 0.2
C-392622 | LF58005291052FA | 391452106224201_OAQ | 1 |  | <0.5 | <2 | <1 | <0.2 | <0.05 | < 0.2 | <0.2 | <0.02 | < 0.01 | <0.02 | <1 | < 0.02 | 0.52 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | <0.03 | < 0.01 | < 2 | < 0.1 | <0.01 | <0.2 | < 1 | <0.01 | < 0.2 | < 0.01 | <0.4 | < 0.01 | <0.05 | < 0.01 | < 0.01 | <1 | < 0.6 | < 1 | < 0.2 | < 0.01 | < 0.5 | < 2 | < 0.5 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | < 0.01 | < 0.01 | <3 | < 0.2
C-392623 | LF53705291130FA | 391454106224201_WS | 1 |  | <0.5 | 249 | <1 | 22 | 0.26 | < 0.2 | 20.9 | 15.6 | 0.29 | 0.81 | <1 | < 0.02 | 3 | 0.057 | 0.03 | 0.01 | 59 | 0.09 | 0.082 | < 0.05 | 0.03 | 0.01 | 1.4 | 0.29 | < 2 | < 0.1 | 4.6 | 4030 | < 1 | 2.7 | < 0.2 | 0.2 | 9.7 | < 0.01 | 0.21 | 0.05 | 1.6 | <1 | 1.1 | < 1 | 14 | 0.06 | < 0.5 | 89 | 80.1 | < 0.1 | 0.01 | < 0.2 | 1.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.43 | 0.02 | 3200 | < 0.2
C-392624 | T11112141400FA | 391454106224201_WS | 1 | This sample is mixed up should be LSG005291400FA | <0.5 | 286 | <1 | 23.5 | 0.31 | < 0.2 | 28.9 | 15.6 | 0.98 | 0.38 | <1 | < 0.02 | 2 | 0.12 | 0.06 | 0.02 | 58 | < 0.05 | 0.13 | < 0.05 | 0.03 | 0.02 | 1.8 | 0.57 | < 2 | < 0.1 | 6.6 | 484 | < 1 | 3.8 | < 0.2 | 0.43 | 15.7 | < 0.01 | 1.49 | 0.11 | 1.7 | <1 | 1.1 | < 1 | 16 | 0.1 | < 0.5 | 110 | 126 | < 0.1 | 0.02 | < 0.2 | 2 | <0.1 | 0.009 | < 0.1 | <0.5 | < 0.5 | 0.82 | 0.05 | 2580 | < 0.2
C-392625 | LF53705291132FA | 391454106224201_OAQ | 1 |  | <0.5 | <2 | <1 | <0.2 | <0.05 | < 0.2 | <0.2 | <0.02 | < 0.01 | 0.06 | <1 | < 0.02 | <0.5 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | <0.03 | < 0.01 | < 2 | < 0.1 | <0.01 | <0.2 | < 1 | <0.01 | < 0.2 | < 0.01 | <0.4 | < 0.01 | <0.05 | < 0.01 | < 0.01 | <1 | < 0.6 | < 1 | < 0.2 | < 0.01 | < 0.5 | < 2 | < 0.5 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | < 0.01 | < 0.01 | <3 | < 0.2
C-392626 | SBG005291205FA | 391443106225701_WS | 1 |  | <0.5 | 125 | <1 | 11.7 | <0.05 | < 0.2 | 3.9 | 0.04 | 0.26 | 0.29 | <1 | 0.03 | 0.99 | 0.02 | 0.01 | < 0.01 | 92 | < 0.05 | 0.04 | < 0.05 | 0.03 | < 0.005 | 0.74 | 0.11 | < 2 | < 0.1 | 1 | 3.4 | < 1 | 2.2 | < 0.2 | 0.13 | 0.4 | < 0.01 | 0.17 | 0.03 | 0.89 | <1 | 0.7 | < 1 | 11 | 0.04 | < 0.5 | 5.5 | 15.4 | < 0.1 | < 0.005 | < 0.2 | 1.6 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.12 | 0.01 | 33.8 | < 0.2
C-392627 | SLGS0605291215FA | 391500106224901_WG | 1 |  | <0.5 | 607 | <1 | 29.3 | 0.48 | < 0.2 | 46.7 | 11.3 | 1.7 | 1 | <1 | < 0.02 | 11 | 0.64 | 0.27 | 0.17 | 30 | 0.2 | 0.8 | < 0.05 | < 0.02 | 0.11 | 2.4 | 1.6 | < 2 | < 0.1 | 10.8 | 6140 | < 1 | 3.8 | < 0.2 | 2 | 27.7 | 0.04 | 0.25 | 0.45 | 1.3 | <1 | 1.2 | < 1 | 16 | 0.58 | < 0.5 | 180 | 182 | < 0.1 | 0.12 | < 0.2 | 2.6 | <0.1 | 0.03 | 0.38 | <0.5 | < 0.5 | 2.9 | 0.19 | 2880 | < 0.2
C-392628 | SLGS0705291250FA | 391501106224901_WG | 1 |  | <0.5 | 1040 | <1 | 9 | 0.41 | < 0.2 | 39.1 | 20.6 | 2.1 | 15.9 | <1 | < 0.02 | 28 | 0.65 | 0.24 | 0.15 | 718 | 0.36 | 0.84 | < 0.05 | 0.03 | 0.11 | 2 | 0.64 | 6.9 | < 0.1 | 9.9 | 16100 | < 1 | 4.4 | < 0.2 | 1.6 | 19.5 | < 0.01 | 3.73 | 0.34 | 2.4 | <1 | 2.1 | < 1 | 26 | 0.65 | < 0.5 | 190 | 95.8 | < 0.1 | 0.12 | < 0.2 | 3.2 | <0.1 | 0.03 | 0.99 | <0.5 | < 0.5 | 2.4 | 0.16 | 5210 | < 0.2
C-392629 | SBGS0105291255FA | 391445106230701_WG | 1 |  | <0.5 | 19.1 | <1 | 12 | <0.05 | < 0.2 | 16.5 | 0.07 | 0.09 | 0.28 | <1 | 0.05 | <0.5 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | 1.7 | 0.02 | < 2 | < 0.1 | 5.4 | 10.8 | < 1 | 2.5 | < 0.2 | 0.03 | 1.1 | < 0.01 | <0.05 | < 0.01 | 4.5 | <1 | 1.1 | < 1 | 16 | 0.01 | < 0.5 | 45 | 38.1 | < 0.1 | < 0.005 | < 0.2 | 0.7 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.04 | < 0.01 | 228 | < 0.2
C-392630 | DT005291330FA | 391504106225200_WG | 1 |  | <0.5 | <2 | 2.4 | 27.2 | 0.11 | < 0.2 | 84.1 | 0.17 | < 0.01 | 6.5 | <1 | 0.29 | 0.83 | < 0.005 | < 0.005 | < 0.01 | 5490 | 0.36 | < 0.01 | < 0.05 | 0.03 | < 0.005 | 1.8 | 0.02 | < 2 | < 0.1 | 23.1 | 17100 | < 1 | 9.2 | < 0.2 | < 0.01 | 10.6 | < 0.01 | <0.05 | < 0.01 | 5.4 | <1 | 1.8 | < 1 | 23 | < 0.01 | < 0.5 | 290 | 233 | < 0.1 | < 0.005 | < 0.2 | 5.7 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.03 | < 0.01 | 2900 | < 0.2
C-392631 | SBGS0205291345FA | 391449106232001_WG | 1 |  | <0.5 | 223 | 9.2 | 41.3 | 0.09 | < 0.2 | 19.6 | 0.9 | 0.56 | 2.5 | <1 | 0.23 | 1.9 | 0.13 | 0.04 | 0.03 | 2190 | 0.1 | 0.21 | < 0.05 | 0.04 | 0.02 | 1.2 | 0.15 | < 2 | < 0.1 | 5.4 | 2010 | < 1 | 4.5 | < 0.2 | 0.26 | 3 | 0.02 | 1.25 | 0.05 | 3.8 | <1 | 1.8 | < 1 | 23 | 0.08 | < 0.5 | 49 | 42.7 | < 0.1 | 0.03 | 0.31 | 2.4 | <0.1 | < 0.005 | 0.63 | <0.5 | < 0.5 | 0.53 | 0.02 | 326 | 0.4
C-392632 | T21112141405FA | 391449106232001_WG | 1 |  | <0.5 | 18700 | 82.4 | 4.1 | 8.9 | < 0.2 | 314 | 110 | 368 | 140 | 7.4 | 6 | 5000 | 34 | 16.9 | 7.6 | 154000 | 6.3 | 43.7 | 0.74 | 0.29 | 6.4 | 3.2 | 151 | 24.9 | 1.8 | 92.6 | 96800 | < 1 | 30.7 | < 0.2 | 185 | 226 | 0.1 | 18.5 | 44.7 | 21 | 2.5 | 7.8 | 5.6 | 38 | 40.1 | < 0.5 | 1500 | 1530 | < 0.1 | 6.2 | 10.8 | 31.1 | 0.38 | 2.1 | 66.7 | 4.3 | < 0.5 | 155 | 12.9 | 41100 | < 0.2
C-392633 | LSG005291400FA | 391504106225201_WS | 1 | This sample is mixed up should be T11112141400FA | <0.5 | 69.6 | 3.1 | 43.3 | 1.7 | < 0.2 | 36.5 | 1.3 | 0.53 | 1.4 | 4.8 | 0.56 | 8.8 | 0.04 | 0.02 | 0.01 | 60 | < 0.05 | 0.057 | < 0.05 | < 0.02 | 0.008 | 3.9 | 0.32 | 10.4 | < 0.1 | 7.8 | 624 | 5.8 | 42.8 | < 0.2 | 0.34 | 6.4 | 0.09 | 4.71 | 0.09 | 7.1 | 5 | < 0.6 | 2.8 | 10 | 0.06 | 1.8 | 110 | 281 | < 0.1 | 0.009 | < 0.2 | 2.4 | 6.08 | < 0.005 | 1.64 | 4.5 | < 0.5 | 0.18 | 0.02 | 380 | < 0.2
C-392634 | LSG005291407FA | 391504106225201_WSQ | 1 |  | <0.5 | 292 | <1 | 23.9 | 0.3 | < 0.2 | 29.2 | 15.5 | 1.1 | 0.3 | <1 | < 0.02 | 1.8 | 0.11 | 0.066 | 0.03 | 77 | < 0.05 | 0.13 | < 0.05 | 0.02 | 0.02 | 1.8 | 0.56 | < 2 | < 0.1 | 6.4 | 496 | < 1 | 3.7 | < 0.2 | 0.45 | 15.6 | < 0.01 | 1.52 | 0.11 | 1.7 | <1 | 0.9 | < 1 | 15 | 0.12 | < 0.5 | 110 | 124 | < 0.1 | 0.02 | < 0.2 | 2 | <0.1 | 0.007 | < 0.1 | <0.5 | < 0.5 | 0.82 | 0.04 | 2650 | 0.4
C-392635 | ST005291440FA | 391435106230801_WG | 1 |  | <0.5 | 100 | 1.1 | 23.5 | 0.4 | < 0.2 | 38.1 | 7.5 | 0.59 | 9.9 | <1 | 0.31 | 0.68 | 0.12 | 0.064 | 0.01 | 5670 | 0.31 | 0.13 | < 0.05 | 0.03 | 0.02 | 1.4 | 0.43 | < 2 | < 0.1 | 12.9 | 14800 | < 1 | 4.3 | < 0.2 | 0.17 | 15.1 | < 0.01 | <0.05 | 0.05 | 5 | <1 | 1.8 | < 1 | 25 | 0.03 | < 0.5 | 160 | 81.9 | < 0.1 | 0.02 | < 0.2 | 2.6 | <0.1 | < 0.005 | 0.38 | <0.5 | < 0.5 | 1.3 | 0.02 | 3650 | < 0.2
C-392636 | SLG0105291530FA | 391501106225401_WS | 1 |  | <0.5 | 492 | <1 | 28.1 | 0.3 | < 0.2 | 11.6 | 26.8 | 1.5 | 1.3 | <1 | < 0.02 | 10.3 | 0.33 | 0.13 | 0.066 | 115 | 0.1 | 0.49 | < 0.05 | < 0.02 | 0.059 | 1.1 | 0.88 | < 2 | < 0.1 | 2.4 | 4740 | < 1 | 1.9 | < 0.2 | 1 | 6.7 | < 0.01 | 20.7 | 0.24 | 1.6 | <1 | 0.8 | < 1 | 13 | 0.27 | < 0.5 | 59 | 49.3 | < 0.1 | 0.063 | < 0.2 | 1.1 | <0.1 | 0.02 | 0.57 | <0.5 | < 0.5 | 1.6 | 0.08 | 4120 | < 0.2
C-392637 | SLG0205291625FA | 391502106230601_WS | 1 |  | <0.5 | 679 | <1 | 19.2 | 0.35 | < 0.2 | 9.4 | 29.3 | 2.3 | 1.1 | <1 | < 0.02 | 11.9 | 0.55 | 0.24 | 0.11 | 270 | 0.1 | 0.72 | < 0.05 | < 0.02 | 0.093 | 1 | 1.3 | < 2 | < 0.1 | 1.9 | 4120 | < 1 | 1.7 | < 0.2 | 1.9 | 6.2 | < 0.01 | 6.83 | 0.43 | 1.2 | <1 | 0.7 | < 1 | 12 | 0.56 | < 0.5 | 51 | 45.1 | < 0.1 | 0.12 | < 0.2 | 1.1 | <0.1 | 0.03 | 0.88 | <0.5 | < 0.5 | 2.3 | 0.17 | 4250 | < 0.2
C-392638 | SLG0205291627FA | 391502106230601_WSQ | 1 |  | <0.5 | 674 | <1 | 19.4 | 0.35 | < 0.2 | 9.5 | 28.6 | 2.3 | 1.1 | <1 | < 0.02 | 11.3 | 0.58 | 0.25 | 0.12 | 260 | 0.1 | 0.76 | < 0.05 | < 0.02 | 0.11 | 1 | 1.3 | < 2 | < 0.1 | 1.8 | 3880 | < 1 | 1.7 | < 0.2 | 1.8 | 5.9 | < 0.01 | 6.58 | 0.4 | 1.2 | <1 | 0.7 | < 1 | 12 | 0.54 | < 0.5 | 51 | 44.3 | < 0.1 | 0.11 | < 0.2 | 1 | <0.1 | 0.03 | 0.91 | <0.5 | < 0.5 | 2.3 | 0.15 | 4030 | < 0.2
C-392639 | NT005291630FA | 391501106230601_WG | 1 |  | <0.5 | 35.1 | 11.7 | 17.1 | 0.38 | < 0.2 | 29.4 | 0.1 | 0.27 | 5.4 | <1 | 0.13 | 0.6 | 0.063 | 0.02 | < 0.01 | 12000 | 0.38 | 0.11 | < 0.05 | < 0.02 | 0.01 | 0.99 | 0.13 | < 2 | < 0.1 | 8.6 | 17900 | < 1 | 3.8 | < 0.2 | 0.14 | 7.8 | < 0.01 | <0.05 | 0.03 | 2.6 | <1 | 1.2 | < 1 | 17 | 0.06 | < 0.5 | 150 | 78.9 | < 0.1 | 0.01 | < 0.2 | 2.7 | <0.1 | < 0.005 | 0.18 | <0.5 | < 0.5 | 0.41 | 0.01 | 3370 | < 0.2
C-392640 | LF005300920FA | 391504106223001_WS | 1 |  | <0.5 | 32.2 | <1 | 6.5 | <0.05 | < 0.2 | 3.2 | 0.06 | 0.32 | 0.11 | <1 | < 0.02 | 0.99 | 0.04 | 0.01 | < 0.01 | 156 | < 0.05 | 0.05 | < 0.05 | < 0.02 | < 0.005 | 0.3 | 0.26 | < 2 | < 0.1 | 0.51 | 56.7 | < 1 | 0.85 | < 0.2 | 0.31 | <0.4 | < 0.01 | 0.16 | 0.09 | 0.53 | <1 | < 0.6 | < 1 | 3.3 | 0.06 | < 0.5 | < 2 | 17.4 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | 0.6 | <0.5 | < 0.5 | 0.13 | 0.01 | <3 | < 0.2
C-392641 | LF005300922FA | 391504106223001_OAQ | 1 |  | <0.5 | 25 | <1 | 0.39 | <0.05 | < 0.2 | <0.2 | <0.02 | 0.19 | <0.02 | <1 | < 0.02 | <0.5 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | <0.03 | < 0.01 | < 2 | < 0.1 | <0.01 | <0.2 | < 1 | <0.01 | < 0.2 | < 0.01 | <0.4 | < 0.01 | <0.05 | < 0.01 | < 0.01 | <1 | < 0.6 | < 1 | < 0.2 | < 0.01 | < 0.5 | < 2 | < 0.5 | 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.02 | < 0.01 | <3 | 0.4
C-392642 | TLSS0305300940FA | 391559106230901_WG | 1 |  | <0.5 | 356 | <1 | 7.2 | 0.07 | < 0.2 | 8 | 2.1 | 0.58 | 1.6 | <1 | 0.12 | 1.1 | 0.04 | 0.01 | < 0.01 | 337 | 0.1 | 0.053 | < 0.05 | 0.02 | 0.008 | 0.6 | 0.33 | < 2 | < 0.1 | 7.2 | 4630 | < 1 | 3.8 | < 0.2 | 0.34 | 4.8 | < 0.01 | <0.05 | 0.08 | 1.8 | <1 | 1.5 | < 1 | 22 | 0.06 | < 0.5 | 60 | 11.3 | 0.21 | 0.007 | < 0.2 | 1 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.2 | 0.01 | 710 | 0.3
C-392643 | TLSS0305300947FA | 391559106230901_WGQ | 1 |  | <0.5 | 358 | <1 | 7.5 | 0.06 | < 0.2 | 8.1 | 2.2 | 0.59 | 1.7 | <1 | 0.12 | 1.1 | 0.04 | 0.01 | < 0.01 | 340 | 0.1 | 0.05 | < 0.05 | < 0.02 | 0.007 | 0.61 | 0.32 | < 2 | < 0.1 | 7.3 | 4790 | < 1 | 3.8 | < 0.2 | 0.34 | 5.2 | < 0.01 | <0.05 | 0.08 | 1.9 | <1 | 1.5 | < 1 | 22 | 0.05 | < 0.5 | 61 | 11.2 | 0.2 | < 0.005 | < 0.2 | 1.1 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.21 | < 0.01 | 724 | < 0.2
C-392644 | BT005301000FA | 391517106223801_WG | 1 |  | <0.5 | 337 | <1 | 21.4 | 0.13 | < 0.2 | 15.5 | 4.8 | 3 | 5.7 | <1 | 0.55 | 18.3 | 0.8 | 0.37 | 0.12 | 1490 | 0.08 | 0.91 | < 0.05 | < 0.02 | 0.14 | 0.96 | 1 | < 2 | < 0.1 | 3.7 | 2430 | < 1 | 2.4 | < 0.2 | 2.7 | 8.4 | < 0.01 | 1.73 | 0.51 | 2.8 | <1 | 0.8 | < 1 | 14 | 0.75 | < 0.5 | 62 | 59.8 | < 0.1 | 0.14 | < 0.2 | 1.3 | 0.1 | 0.04 | 0.29 | <0.5 | < 0.5 | 3.4 | 0.22 | 777 | < 0.2
C-392645 | T31112141410FA | 391517106223801_WG | 1 |  | <0.5 | 15.8 | 25 | 7.5 | 18.2 | < 0.2 | 6 | 6.7 | 0.05 | 12.9 | 39.7 | < 0.02 | 36.7 | 0.007 | 0.007 | < 0.01 | 49 | < 0.05 | 0.01 | < 0.05 | < 0.02 | < 0.005 | 0.93 | 0.06 | < 2 | < 0.1 | 0.97 | 16.5 | 8.6 | 42.5 | < 0.2 | 0.05 | 16.3 | 0.2 | 32.7 | 0.02 | 0.72 | 31.9 | < 0.6 | 10.3 | 3.7 | 0.02 | < 0.5 | 4.2 | 31.3 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | 41.3 | < 0.005 | 3.58 | 33.7 | < 0.5 | 0.05 | < 0.01 | 25.5 | < 0.2
C-392646 | BT005301007FA | 391517106223801_WGQ | 1 |  | <0.5 | 332 | 1.2 | 21.2 | 0.15 | < 0.2 | 15.3 | 4.8 | 3 | 5.8 | <1 | 0.54 | 17.9 | 0.78 | 0.34 | 0.13 | 1470 | 0.08 | 0.96 | < 0.05 | < 0.02 | 0.15 | 0.99 | 1 | < 2 | < 0.1 | 3.7 | 2480 | < 1 | 2.4 | < 0.2 | 2.7 | 8.7 | < 0.01 | 1.73 | 0.53 | 2.8 | <1 | 0.8 | < 1 | 14 | 0.72 | < 0.5 | 62 | 61 | < 0.1 | 0.14 | < 0.2 | 0.9 | 0.26 | 0.04 | 0.36 | <0.5 | < 0.5 | 3.4 | 0.23 | 774 | < 0.2
C-392647 | LSGS0305301200FA | 391512106230001_WG | 1 |  | <0.5 | 703 | <1 | 23.6 | 0.66 | < 0.2 | 27.3 | 33.5 | 1.8 | 0.21 | <1 | < 0.02 | 12.4 | 0.62 | 0.29 | 0.13 | 26 | 0.08 | 0.72 | < 0.05 | < 0.02 | 0.12 | 1.8 | 1.6 | < 2 | < 0.1 | 6.8 | 2580 | < 1 | 3.1 | < 0.2 | 1.8 | 26 | < 0.01 | 0.67 | 0.41 | 1.7 | <1 | 1 | < 1 | 16 | 0.47 | < 0.5 | 120 | 125 | < 0.1 | 0.11 | < 0.2 | 2.1 | <0.1 | 0.03 | 0.56 | <0.5 | < 0.5 | 3.3 | 0.19 | 4710 | < 0.2
C-392648 | SLGS0405301220FA | 391513106232601_WG | 1 |  | <0.5 | 57.1 | <1 | 17.6 | <0.05 | < 0.2 | 4.6 | 1.9 | 0.19 | 0.07 | <1 | < 0.02 | 1.4 | 0.071 | 0.04 | 0.01 | 44 | < 0.05 | 0.079 | < 0.05 | < 0.02 | 0.02 | 0.8 | 0.1 | < 2 | < 0.1 | 0.95 | 347 | < 1 | 1.4 | < 0.2 | 0.24 | 1.8 | < 0.01 | 0.37 | 0.05 | 0.48 | <1 | < 0.6 | < 1 | 9 | 0.05 | < 0.5 | 16 | 30.3 | < 0.1 | 0.01 | < 0.2 | 0.8 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.33 | 0.04 | 577 | < 0.2
C-392649 | LSGS0505301245FA | 391517106230601_WG | 1 |  | <0.5 | 200 | <1 | 2.2 | <0.05 | < 0.2 | 5.4 | 0.03 | 0.15 | 0.06 | <1 | 0.39 | 0.57 | 0.02 | 0.01 | < 0.01 | 77 | 0.07 | 0.02 | < 0.05 | < 0.02 | < 0.005 | 0.97 | 0.07 | < 2 | < 0.1 | 1.3 | 12.6 | < 1 | 1.9 | < 0.2 | 0.06 | 0.6 | 0.07 | 0.18 | 0.03 | 4 | <1 | 0.7 | < 1 | 12 | 0.03 | < 0.5 | 10 | 21.2 | < 0.1 | < 0.005 | < 0.2 | 2.1 | <0.1 | < 0.005 | 0.12 | <0.5 | < 0.5 | 0.08 | < 0.01 | 45.5 | < 0.2
C-392650 | LSG0605301300FA | 391517106230602_WS | 1 |  | <0.5 | 1390 | <1 | 24.4 | 1.1 | < 0.2 | 24.2 | 48.7 | 2.1 | 0.35 | <1 | 0.03 | 37.8 | 1.5 | 0.65 | 0.29 | 22 | 0.1 | 1.6 | < 0.05 | < 0.02 | 0.25 | 1.8 | 2.7 | < 2 | < 0.1 | 6 | 4920 | < 1 | 2.7 | < 0.2 | 3.8 | 32.4 | < 0.01 | 0.45 | 0.83 | 1.8 | <1 | 1.1 | < 1 | 17 | 1.1 | < 0.5 | 110 | 117 | < 0.1 | 0.25 | < 0.2 | 2 | <0.1 | 0.078 | 1.69 | <0.5 | < 0.5 | 7 | 0.44 | 6890 | < 0.2
C-392651 | LSGS1005301320FA | 391518106230901_WG | 1 |  | <0.5 | 81.9 | <1 | 68.2 | 0.13 | < 0.2 | 65.4 | 17.2 | 0.3 | 0.17 | <1 | 0.03 | 1.2 | 0.22 | 0.099 | 0.03 | 63 | 0.2 | 0.28 | < 0.05 | < 0.02 | 0.04 | 3.3 | 0.96 | < 2 | < 0.1 | 21.6 | 7110 | < 1 | 5.2 | < 0.2 | 0.8 | 57.4 | < 0.01 | 0.26 | 0.18 | 2.9 | <1 | 0.7 | < 1 | 12 | 0.18 | < 0.5 | 270 | 310 | < 0.1 | 0.04 | < 0.2 | 4.6 | <0.1 | 0.01 | 0.11 | <0.5 | < 0.5 | 1.5 | 0.06 | 1700 | < 0.2
C-392652 | LSGS1105301345FA | 391519106230901_WG | 1 |  | <0.5 | 2160 | <1 | 21.5 | 1.5 | < 0.2 | 20.1 | 68 | 3.5 | 0.55 | <1 | 0.04 | 56.5 | 2.1 | 0.96 | 0.41 | <20 | 0.21 | 2.4 | < 0.05 | 0.05 | 0.39 | 1.7 | 3.8 | < 2 | < 0.1 | 4.2 | 6360 | < 1 | 2.5 | < 0.2 | 5.4 | 35.4 | < 0.01 | 0.54 | 1.2 | 1.8 | <1 | 1.4 | < 1 | 21 | 1.5 | < 0.5 | 110 | 99.7 | < 0.1 | 0.38 | < 0.2 | 1.6 | <0.1 | 0.11 | 2.65 | <0.5 | < 0.5 | 10.6 | 0.59 | 9780 | 1.2
C-392653 | DTSTRC05301555FA | 391512106230401_WG | 1 |  | <0.5 | 25.9 | 15.1 | 28.6 | 0.29 | < 0.2 | 149 | <0.02 | 0.36 | 11.8 | <1 | 0.52 | 1 | < 0.005 | < 0.005 | < 0.01 | 30100 | 0.64 | < 0.01 | 0.08 | 0.06 | < 0.005 | 2.6 | < 0.01 | 3.6 | < 0.1 | 37.3 | 32200 | < 1 | 13.3 | < 0.2 | < 0.01 | 19.2 | 0.1 | <0.05 | < 0.01 | 8.8 | <1 | 2.3 | < 1 | 32 | < 0.01 | < 0.5 | 500 | 412 | < 0.1 | < 0.005 | 0.21 | 9.2 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.06 | < 0.01 | 5200 | 1.6
C-392654 | DTSPIG05301605FA | 391513106230401_WG | 1 |  | <0.5 | 614 | 39.1 | 11.1 | 1.5 | < 0.2 | 117 | 14.2 | 1.7 | 45 | <1 | 0.54 | 2.2 | 0.93 | 0.31 | 0.23 | 96900 | 2.3 | 1.8 | 0.1 | 0.02 | 0.15 | 3.5 | 0.68 | 2.1 | < 0.1 | 25.9 | 117000 | < 1 | 8.3 | < 0.2 | 1.5 | 72.6 | 0.3 | 9.6 | 0.27 | 12.5 | <1 | 1.9 | 1.7 | 29 | 0.95 | < 0.5 | 600 | 288 | < 0.1 | 0.22 | < 0.2 | 11.2 | <0.1 | 0.03 | 0.47 | <0.5 | < 0.5 | 3.9 | 0.14 | 26200 | < 0.2
C-392655 | TLADIT06121240FA | 391606106241601_WG | 1 |  | <0.5 | 2830 | 10 | 5.2 | 0.14 | 0.47 | 3.6 | 0.97 | 4.2 | 4.4 | <1 | 0.93 | 243 | 0.65 | 0.3 | 0.12 | 19100 | 0.1 | 0.89 | < 0.05 | 0.03 | 0.11 | 1.2 | 1.4 | < 2 | < 0.1 | 0.91 | 228 | < 1 | 1.9 | < 0.2 | 4.3 | 4.3 | 0.2 | 3.05 | 0.8 | 6.4 | <1 | 1 | < 1 | 18 | 1 | < 0.5 | 85 | 18.1 | < 0.1 | 0.12 | 12.6 | 1.6 | 0.38 | 0.04 | 0.98 | <0.5 | < 0.5 | 2.9 | 0.19 | 306 | < 0.2
C-392656 | BG1306121305FA | 391530106223601_WS | 1 |  | <0.5 | 158 | <1 | 37.2 | 0.07 | < 0.2 | 9.3 | 1.4 | 0.73 | 0.43 | <1 | < 0.02 | 2.3 | 0.085 | 0.052 | 0.03 | 123 | < 0.05 | 0.11 | < 0.05 | < 0.02 | 0.02 | 1.1 | 0.21 | < 2 | < 0.1 | 1.9 | 114 | < 1 | 1.9 | < 0.2 | 0.44 | 3.4 | 0.01 | 0.82 | 0.09 | 0.96 | <1 | < 0.6 | < 1 | 9.2 | 0.1 | < 0.5 | 30 | 57.7 | < 0.1 | 0.02 | < 0.2 | 1.7 | <0.1 | 0.007 | 0.11 | <0.5 | < 0.5 | 0.45 | 0.06 | 322 | < 0.2
C-392657 | BG1306121302FA | 391530106223601_OAQ | 1 |  | <0.5 | <2 | <1 | <0.2 | <0.05 | < 0.2 | <0.2 | <0.02 | < 0.01 | <0.02 | <1 | < 0.02 | <0.5 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | <0.03 | < 0.01 | < 2 | < 0.1 | <0.01 | <0.2 | < 1 | <0.01 | < 0.2 | < 0.01 | <0.4 | < 0.01 | <0.05 | < 0.01 | < 0.01 | <1 | < 0.6 | < 1 | < 0.2 | < 0.01 | < 0.5 | < 2 | < 0.5 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | < 0.01 | < 0.01 | <3 | < 0.2
C-392658 | TLS0506121155FA | 391600106235701_WS | 1 |  | <0.5 | 25.3 | <1 | 13.4 | <0.05 | < 0.2 | 3.2 | 0.87 | 0.13 | 0.09 | <1 | < 0.02 | 1.7 | 0.052 | 0.03 | 0.01 | <20 | < 0.05 | 0.074 | < 0.05 | < 0.02 | 0.01 | 0.52 | 0.16 | < 2 | < 0.1 | 0.65 | 0.4 | < 1 | 1.2 | < 0.2 | 0.34 | 0.8 | < 0.01 | 0.06 | 0.08 | 0.63 | <1 | < 0.6 | < 1 | 6.9 | 0.07 | < 0.5 | 8.3 | 20.2 | < 0.1 | 0.01 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.28 | 0.03 | 38.7 | < 0.2
C-392659 | T41112141415FA | 391600106235701_WS | 1 |  | 2.02 | 1190 | 7.3 | 0.39 | 1.4 | < 0.2 | 13.2 | 7.2 | 18 | 7.8 | 4.7 | 0.28 | 272 | 1.9 | 0.9 | 0.43 | 7690 | 0.36 | 2.4 | < 0.05 | < 0.02 | 0.34 | 0.1 | 8 | < 2 | < 0.1 | 4.3 | 5180 | 4.1 | 0.85 | < 0.2 | 9.9 | 13.3 | < 0.01 | 1.48 | 2.4 | 0.89 | <1 | < 0.6 | < 1 | 2 | 2.2 | 0.96 | 88 | 54.4 | < 0.1 | 0.35 | 0.58 | 1.5 | <0.1 | 0.12 | 3.36 | 4.8 | < 0.5 | 7.8 | 0.67 | 2330 | < 0.2
C-392660 | DSTRC05301555FA1 | 391512106230401_WG | 1 |  | <0.5 | 25.6 | 14.8 | 27.7 | 0.31 | < 0.2 | 147 | <0.02 | 0.4 | 12.1 | <1 | 0.52 | 0.99 | < 0.005 | < 0.005 | < 0.01 | 30200 | 0.7 | < 0.01 | 0.08 | 0.02 | < 0.005 | 2.5 | < 0.01 | 3.6 | < 0.1 | 38.4 | 31800 | < 1 | 12.6 | < 0.2 | < 0.01 | 18.7 | 0.1 | <0.05 | < 0.01 | 8.6 | <1 | 2 | < 1 | 32 | < 0.01 | < 0.5 | 500 | 395 | < 0.1 | < 0.005 | < 0.2 | 9.3 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.05 | < 0.01 | 5250 | 1.4
C-392661 | LF005300920FA1 | 391504106223001_WS | 1 |  | <0.5 | 35.2 | <1 | 6.6 | <0.05 | < 0.2 | 3.5 | 0.11 | 0.31 | 0.12 | <1 | < 0.02 | 1.2 | 0.03 | 0.01 | 0.01 | 169 | < 0.05 | 0.05 | < 0.05 | < 0.02 | 0.006 | 0.3 | 0.27 | < 2 | < 0.1 | 0.54 | 59.9 | < 1 | 0.91 | < 0.2 | 0.29 | <0.4 | < 0.01 | 0.16 | 0.08 | 0.54 | <1 | < 0.6 | < 1 | 3.4 | 0.06 | < 0.5 | < 2 | 18.1 | < 0.1 | 0.006 | < 0.2 | 0.5 | <0.1 | < 0.005 | 0.61 | <0.5 | < 0.5 | 0.13 | 0.01 | 3.2 | < 0.2
Note on B10: Katie Walton-Day: This is actually sample LSG005291400FA
Note on B19: Katie Walton-Day: This is actually sample T11112141400FA