## QueryTag
|  | Job Number | Submitter | Contact | # of Samples | Entered by | Date Approved
|  | MRP-14254 | WALTONDAY_K |  | 40
kwaltond@usgs.gov
[5 empty] | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O | ICPMS_H2O
Lab No. | Field No. | Sample Description | Rep | Test Comment | Ag | Al | As | Ba | Be | Bi | Ca | Cd | Ce | Co | Cr | Cs | Cu | Dy | Er | Eu | Fe | Ga | Gd | Ge | Hf | Ho | K | La | Li | Lu | Mg | Mn | Mo | Na | Nb | Nd | Ni | P | Pb | Pr | Rb | Sb | Sc | Se | SiO2 | Sm | Sn | SO4 | Sr | Ta | Tb | Th | Ti | Tl | Tm | U | V | W | Y | Yb | Zn | Zr
[5 empty] | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | mg/L | ug/L | ug/L | mg/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
C-392695 | ST009231610FA1 | 391435106230801_WG | 1 |  | <0.5 | 53.3 | <1 | 27 | 0.45 | < 0.2 | 40.9 | 7.5 | 0.21 | 7.8 | <1 | 0.37 | <0.5 | 0.04 | 0.02 | < 0.01 | 5280 | 0.23 | 0.056 | < 0.05 | 0.1 | 0.008 | 1.4 | 0.26 | 8 | < 0.1 | 14.2 | 10800 | < 1 | 5 | < 0.2 | 0.05 | 11.9 | < 0.01 | <0.05 | 0.02 | 5.9 | <1 | 2.1 | < 1 | 27 | < 0.01 | < 0.5 | 170 | 96.1 | < 0.1 | 0.006 | < 0.2 | 3.2 | <0.1 | < 0.005 | 0.57 | <0.5 | < 0.5 | 0.87 | 0.02 | 3140 | < 0.2
C-392696 | T11112141400FA | 391435106230801_WG | 1 |  | 1.1 | 74.1 | 2.8 | 44.5 | 2.3 | < 0.2 | 35.9 | 1.4 | 0.51 | 1.3 | 4.8 | 0.69 | 7.9 | 0.04 | 0.02 | 0.01 | 27 | < 0.05 | 0.051 | < 0.05 | < 0.02 | 0.006 | 3.8 | 0.34 | 19.4 | < 0.1 | 9.9 | 486 | 5.8 | 37.1 | < 0.2 | 0.33 | 5.6 | 0.09 | 4.65 | 0.08 | 7.8 | 5 | 0.8 | 2.4 | 11 | 0.06 | 1.4 | 110 | 278 | < 0.1 | 0.006 | < 0.2 | 2.1 | 6 | < 0.005 | 1.97 | 4.4 | < 0.5 | 0.23 | 0.02 | 382 | < 0.2
C-392697 | LF58009231045FA | 391452106224201_WS | 1 |  | <0.5 | 124 | <1 | 6.6 | <0.05 | < 0.2 | 3.7 | 0.06 | 0.96 | 0.05 | <1 | < 0.02 | 1.2 | 0.056 | 0.03 | 0.02 | 182 | < 0.05 | 0.084 | < 0.05 | 0.02 | 0.007 | 0.31 | 0.5 | < 2 | < 0.1 | 0.81 | 92.2 | < 1 | 0.93 | < 0.2 | 0.6 | <0.4 | < 0.01 | 0.3 | 0.15 | 0.55 | <1 | < 0.6 | < 1 | 4.3 | 0.13 | < 0.5 | 4.4 | 20.3 | < 0.1 | 0.01 | < 0.2 | < 0.5 | <0.1 | < 0.005 | 0.62 | <0.5 | < 0.5 | 0.29 | 0.03 | 11.1 | 1.4
C-392698 | LF53709231142FA | 391454106224201_OAQ | 1 |  | <0.5 | <2 | <1 | <0.2 | <0.05 | < 0.2 | <0.2 | <0.02 | < 0.01 | 0.03 | <1 | < 0.02 | <0.5 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | <0.03 | < 0.01 | < 2 | < 0.1 | <0.01 | <0.2 | < 1 | <0.01 | < 0.2 | < 0.01 | <0.4 | < 0.01 | <0.05 | < 0.01 | < 0.01 | <1 | < 0.6 | < 1 | < 0.2 | 0.01 | < 0.5 | < 2 | < 0.5 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | < 0.01 | < 0.01 | <3 | < 0.2
C-392699 | LF53709231145FA | 391454106224201_WS | 1 |  | <0.5 | 202 | <1 | 24.1 | 0.21 | < 0.2 | 61 | 2.4 | 0.53 | 0.87 | <1 | 0.04 | 1.8 | 0.1 | 0.054 | 0.02 | 244 | 0.2 | 0.13 | < 0.05 | < 0.02 | 0.02 | 2.5 | 0.55 | 4.8 | < 0.1 | 17.1 | 7590 | < 1 | 6.7 | < 0.2 | 0.41 | 10.2 | < 0.01 | 0.14 | 0.1 | 3.5 | <1 | 1.5 | < 1 | 19 | 0.09 | < 0.5 | 260 | 222 | < 0.1 | 0.02 | < 0.2 | 3.6 | <0.1 | < 0.005 | 0.12 | <0.5 | < 0.5 | 0.72 | 0.03 | 1180 | < 0.2
C-392700 | TLADIT09231215FA | 391606106241601_WG | 1 |  | <0.5 | 3010 | 3.4 | 7 | 0.3 | < 0.2 | 4.6 | 0.81 | 2.6 | 4.7 | <1 | 1.6 | 84.7 | 0.49 | 0.26 | 0.076 | 9260 | 0.06 | 0.71 | < 0.05 | 0.03 | 0.098 | 1.7 | 0.78 | < 2 | < 0.1 | 1.6 | 526 | < 1 | 2.8 | < 0.2 | 2.7 | 6.7 | 0.1 | 2.42 | 0.49 | 11.8 | <1 | 2.2 | < 1 | 29 | 0.66 | < 0.5 | 81 | 21.2 | < 0.1 | 0.088 | 2.1 | 1.1 | 0.42 | 0.03 | 0.41 | <0.5 | < 0.5 | 3.3 | 0.16 | 701 | < 0.2
C-392701 | TLADIT09231222FA | 391606106241601_OAQ | 1 |  | <0.5 | 16.8 | <1 | <0.2 | <0.05 | < 0.2 | <0.2 | <0.02 | 0.13 | <0.02 | <1 | < 0.02 | <0.5 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | <0.03 | < 0.01 | < 2 | < 0.1 | <0.01 | <0.2 | < 1 | <0.01 | < 0.2 | < 0.01 | <0.4 | < 0.01 | <0.05 | < 0.01 | < 0.01 | <1 | < 0.6 | < 1 | < 0.2 | < 0.01 | < 0.5 | < 2 | < 0.5 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.01 | < 0.01 | <3 | < 0.2
C-392702 | T21112141405FA | 391606106241601_OAQ | 1 |  | <0.5 | 19200 | 87.3 | 4.1 | 11.1 | < 0.2 | 325 | 108 | 346 | 151 | 9 | 7 | 4770 | 32.4 | 16.7 | 7.6 | 143000 | 6.2 | 42.9 | 0.72 | 0.25 | 6.2 | 3.7 | 164 | 31.5 | 1.7 | 100 | 96000 | < 1 | 32.2 | < 0.2 | 190 | 242 | 0.1 | 18.6 | 45.9 | 22.7 | 2.3 | 9.5 | 5.4 | 45 | 40.6 | < 0.5 | 1400 | 1460 | < 0.1 | 6.2 | 11.4 | 32.3 | 0.38 | 2.1 | 72.3 | 5 | < 0.5 | 170 | 12.2 | 45400 | < 0.2
C-392703 | SLGS0609231245FA | 391500106224901_WG | 1 |  | <0.5 | 948 | <1 | 21.8 | 1.1 | < 0.2 | 46.9 | 14.8 | 4.1 | 2 | <1 | 0.05 | 18.7 | 1.1 | 0.47 | 0.34 | 39 | 0.2 | 1.6 | < 0.05 | < 0.02 | 0.2 | 2.4 | 2.9 | 4.6 | < 0.1 | 10.5 | 8910 | < 1 | 4.7 | < 0.2 | 3.7 | 28.7 | 0.04 | 0.12 | 0.85 | 1.6 | <1 | 1.4 | < 1 | 20 | 1.2 | < 0.5 | 180 | 185 | < 0.1 | 0.23 | < 0.2 | 2.5 | <0.1 | 0.059 | 1.09 | <0.5 | < 0.5 | 4.7 | 0.36 | 4030 | 0.4
C-392704 | SLGS0609231247FA | 391500106224901_WGQ | 1 |  | <0.5 | 915 | <1 | 21.6 | 1.1 | < 0.2 | 45.5 | 14.8 | 3.9 | 2.1 | <1 | 0.04 | 18.6 | 1.2 | 0.51 | 0.33 | 33 | 0.2 | 1.6 | < 0.05 | < 0.02 | 0.19 | 2.3 | 2.9 | 4.5 | < 0.1 | 10 | 8910 | < 1 | 4.6 | < 0.2 | 3.8 | 28 | 0.04 | 0.09 | 0.84 | 1.5 | <1 | 1.4 | < 1 | 19 | 1.1 | < 0.5 | 180 | 176 | < 0.1 | 0.23 | < 0.2 | 2.5 | <0.1 | 0.056 | 1.06 | <0.5 | < 0.5 | 4.6 | 0.3 | 3980 | < 0.2
C-392705 | SLGS0709231315FA | 391501106224901_WG | 1 |  | <0.5 | 918 | <1 | 11.9 | 0.62 | < 0.2 | 38.9 | 12.4 | 2.3 | 13.2 | <1 | 0.03 | 20.5 | 0.67 | 0.3 | 0.15 | 629 | 0.25 | 0.91 | < 0.05 | < 0.02 | 0.11 | 2.8 | 0.73 | 3.9 | < 0.1 | 9.5 | 13600 | < 1 | 4.8 | < 0.2 | 1.9 | 18.8 | < 0.01 | 3.49 | 0.37 | 3.3 | <1 | 1.6 | < 1 | 21 | 0.71 | < 0.5 | 190 | 103 | < 0.1 | 0.14 | < 0.2 | 2.6 | <0.1 | 0.03 | 0.97 | <0.5 | < 0.5 | 2.4 | 0.17 | 4570 | < 0.2
C-392706 | TLSS0309231355FA | 391559106230901_WG | 1 |  | <0.5 | 408 | <1 | 8 | 0.14 | < 0.2 | 8.7 | 2.7 | 1.4 | 1.9 | <1 | 0.16 | 1.5 | 0.068 | 0.04 | 0.02 | <20 | 0.09 | 0.12 | < 0.05 | < 0.02 | 0.01 | 0.62 | 0.62 | 5.6 | < 0.1 | 8 | 4500 | < 1 | 4.5 | < 0.2 | 0.86 | 5.7 | < 0.01 | 0.05 | 0.19 | 2 | <1 | 1.6 | < 1 | 23 | 0.12 | < 0.5 | 62 | 11.8 | < 0.1 | 0.01 | < 0.2 | 0.9 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.37 | 0.02 | 941 | < 0.2
C-392707 | DT009231410FA | 391504106225200_WG | 1 |  | <0.5 | 2.4 | 2.6 | 30.9 | 0.33 | < 0.2 | 118 | 0.11 | 0.02 | 8.8 | <1 | 0.49 | 0.95 | 0.008 | < 0.005 | < 0.01 | 7000 | 0.36 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | 2.1 | 0.02 | 6.9 | < 0.1 | 28.2 | 21400 | < 1 | 11 | < 0.2 | < 0.01 | 14.1 | < 0.01 | <0.05 | < 0.01 | 7.1 | <1 | 2 | < 1 | 26 | < 0.01 | < 0.5 | 310 | 276 | < 0.1 | < 0.005 | < 0.2 | 6 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.03 | < 0.01 | 4280 | < 0.2
C-392708 | LF009231530FA | 391504106223001_WS | 1 |  | <0.5 | 52 | <1 | 5.5 | <0.05 | < 0.2 | 2.7 | 0.03 | 0.52 | 0.04 | <1 | < 0.02 | 1.1 | 0.051 | 0.03 | 0.01 | 198 | < 0.05 | 0.084 | < 0.05 | < 0.02 | 0.009 | 0.2 | 0.49 | < 2 | < 0.1 | 0.44 | 9 | < 1 | 0.82 | < 0.2 | 0.6 | <0.4 | < 0.01 | 0.27 | 0.14 | 0.44 | <1 | < 0.6 | < 1 | 3.4 | 0.11 | < 0.5 | < 2 | 14.4 | < 0.1 | 0.01 | < 0.2 | < 0.5 | <0.1 | < 0.005 | 0.47 | <0.5 | < 0.5 | 0.2 | 0.01 | <3 | < 0.2
C-392709 | ST009231610FA | 391435106230801_WG | 1 |  | <0.5 | 41.9 | <1 | 26.8 | 0.55 | < 0.2 | 38.3 | 6.2 | 0.21 | 8 | <1 | 0.35 | <0.5 | 0.052 | 0.03 | < 0.01 | 5400 | 0.2 | 0.04 | < 0.05 | < 0.02 | 0.01 | 1.3 | 0.25 | 6.1 | < 0.1 | 11.3 | 11000 | < 1 | 4.8 | < 0.2 | 0.07 | 12.6 | < 0.01 | <0.05 | 0.02 | 5 | <1 | 1.6 | < 1 | 22 | 0.02 | < 0.5 | 140 | 80.1 | < 0.1 | 0.008 | < 0.2 | 2.7 | <0.1 | < 0.005 | 0.51 | <0.5 | < 0.5 | 0.73 | 0.01 | 3350 | < 0.2
C-392710 | BT009231645FA | 391517106223801_WG | 1 |  | <0.5 | 106 | <1 | 26.3 | 0.12 | < 0.2 | 16.3 | 2.7 | 0.81 | 3 | <1 | 0.58 | 6.7 | 0.17 | 0.095 | 0.03 | 54 | < 0.05 | 0.21 | < 0.05 | < 0.02 | 0.03 | 1.1 | 0.29 | < 2 | < 0.1 | 4.4 | 1650 | < 1 | 3.5 | < 0.2 | 0.52 | 5.4 | < 0.01 | <0.05 | 0.1 | 3.2 | <1 | 1.1 | < 1 | 15 | 0.12 | < 0.5 | 55 | 73.3 | < 0.1 | 0.03 | < 0.2 | 0.9 | <0.1 | 0.009 | < 0.1 | <0.5 | < 0.5 | 1 | 0.06 | 544 | 0.4
C-392711 | SBG009240900FA | 391443106225701_WS | 1 |  | <0.5 | 3.9 | <1 | 18.5 | 0.07 | < 0.2 | 9.4 | <0.02 | 0.04 | 0.24 | <1 | < 0.02 | <0.5 | 0.01 | 0.01 | < 0.01 | 234 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | 0.96 | 0.02 | < 2 | < 0.1 | 2.8 | 123 | < 1 | 3.5 | < 0.2 | 0.04 | 0.8 | < 0.01 | <0.05 | < 0.01 | 1.2 | <1 | 0.7 | < 1 | 10 | 0.01 | < 0.5 | < 2 | 41.1 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.05 | < 0.01 | 26.7 | < 0.2
C-392712 | LSG009240900FA | 391504106225201_WS | 1 |  | <0.5 | 701 | <1 | 39.9 | 0.72 | < 0.2 | 80.3 | 18.7 | 4 | 1.7 | <1 | < 0.02 | 1.7 | 0.34 | 0.21 | 0.056 | 235 | 0.06 | 0.41 | < 0.05 | < 0.02 | 0.074 | 2.5 | 2.3 | 2.9 | < 0.1 | 18.8 | 1500 | < 1 | 7.8 | < 0.2 | 1.3 | 34.2 | < 0.01 | 5.13 | 0.34 | 2.6 | <1 | 1.2 | < 1 | 17 | 0.27 | < 0.5 | 300 | 337 | < 0.1 | 0.062 | < 0.2 | 4.4 | <0.1 | 0.02 | 0.12 | <0.5 | < 0.5 | 2.8 | 0.1 | 4620 | < 0.2
C-392713 | LSG009240902FA | 391504106225201_OAQ | 1 |  | <0.5 | 4.8 | <1 | <0.2 | <0.05 | < 0.2 | <0.2 | <0.02 | 0.03 | <0.02 | <1 | < 0.02 | <0.5 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | <0.03 | < 0.01 | < 2 | < 0.1 | <0.01 | <0.2 | < 1 | <0.01 | < 0.2 | < 0.01 | <0.4 | < 0.01 | <0.05 | < 0.01 | < 0.01 | <1 | < 0.6 | < 1 | < 0.2 | < 0.01 | < 0.5 | < 2 | < 0.5 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | < 0.01 | < 0.01 | <3 | < 0.2
C-392714 | SBGS0109240930FA | 391445106230701_WG | 1 |  | <0.5 | <2 | <1 | 17.2 | <0.05 | < 0.2 | 18.2 | 0.03 | < 0.01 | 0.22 | <1 | 0.05 | <0.5 | < 0.005 | < 0.005 | < 0.01 | 183 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | 1.8 | < 0.01 | < 2 | < 0.1 | 6.7 | 100 | < 1 | 3.4 | < 0.2 | < 0.01 | 0.9 | < 0.01 | <0.05 | < 0.01 | 5 | <1 | 1.2 | < 1 | 17 | < 0.01 | < 0.5 | 48 | 44.6 | < 0.1 | < 0.005 | < 0.2 | 0.7 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.02 | < 0.01 | 187 | < 0.2
C-392715 | LSGS0309240957FA | 391512106230001_WGQ | 1 |  | <0.5 | 1790 | <1 | 24.8 | 1.7 | < 0.2 | 102 | 57 | 12.2 | 0.71 | <1 | 0.03 | 3.3 | 1.8 | 0.78 | 0.29 | 64 | 0.25 | 2.1 | < 0.05 | 0.02 | 0.34 | 3.2 | 8.7 | 4.3 | < 0.1 | 28.8 | 6540 | < 1 | 8.7 | < 0.2 | 6.6 | 63.3 | < 0.01 | 2.61 | 1.7 | 3.5 | <1 | 1.5 | < 1 | 21 | 1.5 | < 0.5 | 290 | 428 | < 0.1 | 0.33 | < 0.2 | 6.1 | <0.1 | 0.086 | 0.62 | <0.5 | < 0.5 | 12.1 | 0.44 | 7250 | 0.2
C-392716 | SBGS0209241015FA | 391449106232001_WG | 1 |  | <0.5 | 7.2 | 7.2 | 46.1 | 0.05 | < 0.2 | 18.1 | 0.1 | 0.03 | 1.4 | <1 | 0.12 | <0.5 | 0.02 | < 0.005 | < 0.01 | 2250 | < 0.05 | 0.02 | < 0.05 | < 0.02 | < 0.005 | 1 | < 0.01 | 3.5 | < 0.1 | 5.5 | 1270 | < 1 | 6.1 | < 0.2 | 0.01 | 1.6 | 0.02 | 0.08 | < 0.01 | 3.2 | <1 | 1.7 | < 1 | 23 | 0.02 | < 0.5 | 31 | 44.9 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | 0.32 | <0.5 | < 0.5 | 0.07 | < 0.01 | 132 | < 0.2
C-392717 | LSG0609241030FA | 391517106230602_WS | 1 |  | <0.5 | 1080 | <1 | 28.4 | 0.83 | < 0.2 | 119 | 49.9 | 4.7 | 0.79 | <1 | 0.03 | 26.7 | 2.3 | 0.98 | 0.44 | 73 | 0.59 | 2.7 | < 0.05 | 0.06 | 0.4 | 4.2 | 7.7 | 6.1 | < 0.1 | 38.3 | 25500 | < 1 | 9.8 | < 0.2 | 6.8 | 135 | < 0.01 | 1.27 | 1.6 | 4 | <1 | 1.6 | < 1 | 22 | 1.7 | < 0.5 | 370 | 478 | < 0.1 | 0.43 | < 0.2 | 7 | <0.1 | 0.11 | 1.14 | <0.5 | < 0.5 | 14.2 | 0.58 | 5990 | 3.1
C-392718 | LSGS0509241050FA | 391517106230601_WG | 1 |  | <0.5 | 36.3 | <1 | 3 | <0.05 | < 0.2 | 9.2 | <0.02 | 0.27 | <0.02 | <1 | 0.3 | <0.5 | 0.006 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | 1 | < 0.01 | < 2 | < 0.1 | 2.6 | 10.6 | < 1 | 3.3 | < 0.2 | < 0.01 | 0.5 | 0.04 | <0.05 | < 0.01 | 4.7 | <1 | 1 | < 1 | 16 | < 0.01 | < 0.5 | 20 | 36.9 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.03 | < 0.01 | 72.1 | 0.98
C-392719 | LSGS1109241105FA | 391519106230901_WG | 1 |  | <0.5 | 1530 | <1 | 26.5 | 1.9 | < 0.2 | 48.7 | 78.1 | 3.2 | 0.19 | <1 | 0.03 | 40.6 | 2.1 | 0.96 | 0.43 | 25 | 0.1 | 2.5 | < 0.05 | 0.03 | 0.39 | 2.4 | 5.1 | 4.9 | < 0.1 | 11.8 | 4890 | < 1 | 5.3 | < 0.2 | 6 | 61.4 | < 0.01 | 1.95 | 1.3 | 2.6 | <1 | 1.5 | < 1 | 23 | 1.5 | < 0.5 | 210 | 227 | < 0.1 | 0.38 | < 0.2 | 2.6 | <0.1 | 0.12 | 1.71 | <0.5 | < 0.5 | 12.4 | 0.56 | 10000 | 0.5
C-392720 | LSGS1009241120FA | 391518106230901_WG | 1 |  | <0.5 | 128 | <1 | 24.2 | 0.19 | < 0.2 | 134 | 20.1 | 1.3 | 4.1 | <1 | 0.06 | 2.3 | 0.82 | 0.38 | 0.15 | 74 | 1 | 1.1 | < 0.05 | < 0.02 | 0.15 | 4.7 | 4.3 | 10.2 | < 0.1 | 49.6 | 53900 | < 1 | 10.9 | < 0.2 | 3.1 | 154 | < 0.01 | 0.18 | 0.74 | 5.5 | <1 | 1.2 | < 1 | 18 | 0.68 | < 0.5 | 440 | 502 | < 0.1 | 0.15 | < 0.2 | 8.3 | <0.1 | 0.04 | 0.28 | <0.5 | < 0.5 | 7 | 0.16 | 4550 | 0.64
C-392721 | SLGS0409241130FA | 391513106232601_WG | 1 |  | <0.5 | 432 | <1 | 43.6 | 0.41 | < 0.2 | 27.7 | 2.5 | 1.4 | 1.8 | <1 | < 0.02 | 1.4 | 0.36 | 0.19 | 0.079 | 1230 | 0.58 | 0.46 | < 0.05 | < 0.02 | 0.079 | 2 | 0.95 | < 2 | < 0.1 | 6.9 | 29600 | < 1 | 5.6 | < 0.2 | 1.1 | 12.4 | < 0.01 | 0.45 | 0.24 | 2.6 | <1 | 1 | < 1 | 15 | 0.32 | < 0.5 | 160 | 117 | < 0.1 | 0.064 | < 0.2 | 1.9 | <0.1 | 0.02 | 0.23 | <0.5 | < 0.5 | 2.7 | 0.15 | 2710 | 0.3
C-392722 | T31112141410FA | 391513106232601_WG | 1 | C-number matches original bottle Field ID of T31112141410FA | 0.55 | 17 | 24.7 | 7.4 | 22.7 | < 0.2 | 6.3 | 6.4 | 0.06 | 12.7 | 39.6 | < 0.02 | 38.3 | 0.02 | 0.006 | < 0.01 | 39 | < 0.05 | 0.02 | < 0.05 | < 0.02 | < 0.005 | 0.93 | 0.06 | < 2 | < 0.1 | 1.2 | 16.4 | 8.8 | 43 | < 0.2 | 0.06 | 16.1 | 0.2 | 31.9 | 0.02 | 0.82 | 29.8 | < 0.6 | 9.3 | 4 | 0.02 | < 0.5 | 3 | 34.6 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | 40.5 | < 0.005 | 4.21 | 34.2 | < 0.5 | 0.05 | < 0.01 | 26.9 | < 0.2
C-392723 | SLG0209241240FA | 391502106230601_WS | 1 |  | 1.3 | 1700 | <1 | 32.1 | 2 | < 0.2 | 48.8 | 41.5 | 10.6 | 7.3 | <1 | 0.04 | 19.2 | 2.2 | 0.82 | 0.36 | 1160 | 0.37 | 2.8 | < 0.05 | < 0.02 | 0.36 | 2.2 | 6.4 | 4.2 | < 0.1 | 10.4 | 15100 | < 1 | 4.4 | < 0.2 | 6.9 | 34.3 | < 0.01 | 40 | 1.6 | 3.5 | <1 | 2 | < 1 | 26 | 1.8 | < 0.5 | 220 | 200 | < 0.1 | 0.43 | < 0.2 | 2.8 | 0.25 | 0.096 | 4.82 | <0.5 | < 0.5 | 10.2 | 0.48 | 10600 | < 0.2
C-392724 | SLG0209241247FA | 391502106230601_WSQ | 1 |  | 1.28 | 1860 | <1 | 34.5 | 1.9 | < 0.2 | 50.2 | 42.5 | 11.9 | 7.4 | <1 | 0.04 | 20.3 | 2.2 | 0.92 | 0.38 | 1230 | 0.44 | 2.9 | < 0.05 | 0.06 | 0.38 | 2.2 | 6.6 | 4.6 | < 0.1 | 10.8 | 15800 | < 1 | 4.5 | < 0.2 | 7.2 | 34.7 | < 0.01 | 40 | 1.7 | 3.6 | <1 | 1.9 | < 1 | 26 | 1.9 | < 0.5 | 230 | 206 | < 0.1 | 0.44 | < 0.2 | 3.3 | 0.11 | 0.11 | 4.84 | <0.5 | < 0.5 | 10.4 | 0.49 | 10800 | 2.8
C-392725 | NT009241340FA | 391501106230601_WG | 1 |  | <0.5 | 8.2 | 13 | 25.9 | 0.53 | < 0.2 | 150 | <0.02 | 0.04 | 11.7 | <1 | 0.56 | 0.76 | 0.009 | < 0.005 | < 0.01 | 26200 | 0.52 | < 0.01 | 0.08 | < 0.02 | < 0.005 | 2.5 | < 0.01 | 7.9 | < 0.1 | 35.7 | 28300 | < 1 | 12.7 | < 0.2 | < 0.01 | 17.9 | 0.08 | <0.05 | < 0.01 | 8.5 | <1 | 2.3 | < 1 | 31 | < 0.01 | < 0.5 | 410 | 353 | < 0.1 | < 0.005 | < 0.2 | 7.6 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.03 | < 0.01 | 5900 | 0.5
C-392726 | DTSTRC09241340FA | 391512106230401_WG | 1 |  | <0.5 | 99.7 | 26 | 22.6 | 1.2 | < 0.2 | 77.2 | 0.18 | 0.59 | 14 | <1 | 0.27 | 0.87 | 0.3 | 0.12 | 0.04 | 40200 | 0.79 | 0.49 | 0.06 | < 0.02 | 0.05 | 1.6 | 0.2 | 5.3 | < 0.1 | 20.4 | 48400 | < 1 | 7.2 | < 0.2 | 0.26 | 21.7 | < 0.01 | <0.05 | 0.06 | 5.2 | <1 | 1.5 | < 1 | 24 | 0.14 | < 0.5 | 290 | 185 | < 0.1 | 0.065 | < 0.2 | 5.4 | <0.1 | 0.01 | 0.25 | <0.5 | < 0.5 | 1.5 | 0.05 | 12600 | < 0.2
C-392727 | DTSPIG09241350FA | 391513106230401_WG | 1 |  | <0.5 | 205 | 24.8 | 9.8 | 1.6 | < 0.2 | 110 | 2.7 | 0.53 | 38.2 | <1 | 0.47 | 1.2 | 0.2 | 0.082 | 0.05 | 65400 | 1.3 | 0.45 | 0.07 | < 0.02 | 0.04 | 3.1 | 0.28 | 7.1 | < 0.1 | 22.8 | 78700 | < 1 | 9.1 | < 0.2 | 0.4 | 53.1 | 0.5 | 0.69 | 0.08 | 9.6 | <1 | 1.9 | < 1 | 27 | 0.2 | < 0.5 | 420 | 253 | < 0.1 | 0.05 | < 0.2 | 7.8 | <0.1 | 0.01 | 0.29 | <0.5 | < 0.5 | 1.3 | 0.04 | 22600 | < 0.2
C-392728 | SLG0109241425FA | 391501106225401_WS | 1 |  | <0.5 | 500 | <1 | 37.7 | 0.47 | < 0.2 | 50.2 | 4.4 | 2.9 | 4.9 | <1 | 0.03 | 4.2 | 0.58 | 0.25 | 0.1 | 1260 | 0.33 | 0.8 | < 0.05 | < 0.02 | 0.093 | 2.4 | 1.7 | 3.7 | < 0.1 | 11.6 | 19400 | < 1 | 5.1 | < 0.2 | 2 | 12.6 | < 0.01 | 33.5 | 0.46 | 3.1 | <1 | 1.2 | < 1 | 19 | 0.55 | < 0.5 | 220 | 155 | < 0.1 | 0.12 | < 0.2 | 2.9 | <0.1 | 0.03 | 0.68 | <0.5 | < 0.5 | 2.6 | 0.15 | 3020 | < 0.2
C-392729 | LSGS509241050FA1 | 391517106230601_WG | 1 |  | <0.5 | 33.7 | <1 | 3 | <0.05 | < 0.2 | 8.7 | <0.02 | 0.27 | <0.02 | <1 | 0.29 | <0.5 | 0.005 | 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | 0.99 | < 0.01 | < 2 | < 0.1 | 2.4 | 10.8 | < 1 | 3.1 | < 0.2 | < 0.01 | 0.5 | 0.04 | <0.05 | < 0.01 | 4.2 | <1 | 0.9 | < 1 | 15 | < 0.01 | < 0.5 | 19 | 32.6 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | 0.02 | < 0.01 | 71 | 0.67
C-392730 | LSGS0309240950FA | 391512106230001_WG | 1 |  | <0.5 | 1650 | <1 | 24.4 | 1.6 | < 0.2 | 97.7 | 52.2 | 11.7 | 0.77 | <1 | 0.02 | 3.1 | 1.8 | 0.83 | 0.27 | 91 | 0.2 | 2.1 | < 0.05 | < 0.02 | 0.34 | 3 | 8.4 | 5.8 | < 0.1 | 26.4 | 6440 | < 1 | 8.9 | < 0.2 | 6.5 | 62.8 | < 0.01 | 2.62 | 1.6 | 3.1 | <1 | 1.4 | < 1 | 19 | 1.5 | < 0.5 | 280 | 376 | < 0.1 | 0.33 | < 0.2 | 5.4 | <0.1 | 0.086 | 0.57 | <0.5 | < 0.5 | 10.7 | 0.43 | 7060 | < 0.2
C-392731 | SLG0109241422FA | 391501106225401_OAQ | 1 |  | <0.5 | <2 | <1 | <0.2 | <0.05 | < 0.2 | <0.2 | <0.02 | < 0.01 | 0.03 | <1 | < 0.02 | <0.5 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | <0.03 | < 0.01 | < 2 | < 0.1 | <0.01 | <0.2 | < 1 | <0.01 | < 0.2 | < 0.01 | <0.4 | < 0.01 | <0.05 | < 0.01 | < 0.01 | <1 | < 0.6 | < 1 | < 0.2 | < 0.01 | < 0.5 | < 2 | < 0.5 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | < 0.01 | < 0.01 | <3 | < 0.2
C-392732 | TLSS0309231407FA | 391559106230901_WGQ | 1 |  | <0.5 | 548 | <1 | 8.6 | 0.15 | < 0.2 | 8.8 | 2.6 | 2.3 | 1.9 | <1 | 0.15 | 2.1 | 0.081 | 0.05 | 0.02 | <20 | 0.2 | 0.11 | < 0.05 | 0.1 | 0.01 | 0.64 | 0.61 | 6 | < 0.1 | 8.4 | 4380 | < 1 | 4.7 | < 0.2 | 0.81 | 5.6 | < 0.01 | 0.08 | 0.18 | 2 | <1 | 1.7 | < 1 | 23 | 0.15 | < 0.5 | 65 | 12.4 | < 0.1 | 0.02 | < 0.2 | 0.9 | <0.1 | < 0.005 | 0.13 | <0.5 | < 0.5 | 0.47 | 0.04 | 940 | 2.8
C-392733 | AcdSpt11121430FA | 391559106230901_WGQ | 1 |  | <0.5 | <2 | <1 | <0.2 | <0.05 | < 0.2 | <0.2 | <0.02 | < 0.01 | <0.02 | <1 | < 0.02 | <0.5 | < 0.005 | < 0.005 | < 0.01 | <20 | < 0.05 | < 0.01 | < 0.05 | < 0.02 | < 0.005 | <0.03 | < 0.01 | < 2 | < 0.1 | <0.01 | <0.2 | < 1 | <0.01 | < 0.2 | < 0.01 | <0.4 | < 0.01 | <0.05 | < 0.01 | < 0.01 | <1 | < 0.6 | < 1 | < 0.2 | < 0.01 | < 0.5 | < 2 | < 0.5 | < 0.1 | < 0.005 | < 0.2 | < 0.5 | <0.1 | < 0.005 | < 0.1 | <0.5 | < 0.5 | < 0.01 | < 0.01 | <3 | < 0.2
C-392734 | T41112141415FA | 391559106230901_WGQ | 1 |  | 2.35 | 1030 | 6.7 | 0.32 | 1.7 | < 0.2 | 13.2 | 6.2 | 17.2 | 7.5 | 5 | 0.29 | 268 | 1.8 | 0.86 | 0.38 | 7150 | 0.31 | 2.2 | < 0.05 | 0.02 | 0.33 | 0.1 | 7.8 | 3.1 | < 0.1 | 4.5 | 4320 | 3.4 | 0.97 | < 0.2 | 9.8 | 12.5 | < 0.01 | 1.52 | 2.3 | 0.91 | <1 | < 0.6 | < 1 | 2 | 2.1 | 0.87 | 86 | 53.6 | < 0.1 | 0.34 | 0.6 | 1.2 | <0.1 | 0.12 | 3.74 | 4.2 | < 0.5 | 7.8 | 0.72 | 2580 | < 0.2